## data
Analysis of samples for carbon and nitrogen, weight percent and isotopic composition
Instrumentation: Costech ECS 4010 Elemental Combustion System/Zero Blank Autosampler/Thermo Scientific Conflo IV/Thermo Scientific Delta V Advantage
Analyzed by: | NW
Date: | 2022-10-11
He-dilution: | 0/94
Notes | Sample ID | Weight (mg) | μg N | δ15N (‰ vs. AIR) | μg C | δ13C (‰ vs. VPDB)
| SAND SGD 1T | 2.6953 | 34.1 | 7.5 | 787.6 | -12.7
| REEF SGD 1T | 2.5969 | 25.9 | 4.3 | 795.9 | -10.8
| REEF AMB 1T | 2.4759 | 23.2 | 4.1 | 729.5 | -10
| SAND AMB 1T | 2.4143 | 20.6 | 4.4 | 672.1 | -10.6
| REEF SGD 2T | 2.6218 | 30.3 | 4.4 | 769.9 | -10.3
| REEF AMB 2T | 2.7198 | 26.4 | 4.2 | 837.1 | -10.4
| SAND SGD 2T | 2.4806 | 25.4 | 4.9 | 736 | -11.3
| SAND AMB 2T | 2.5636 | 25.1 | 4.5 | 761.7 | -11.6
| REEF SGD 3T | 2.3848 | 28.6 | 5.3 | 717.6 | -12
| REEF AMB 3T | 2.4784 | 21.5 | 4.2 | 739.9 | -10.3
| SAND SGD 3T | 2.6327 | 32.6 | 7.2 | 734.1 | -12.8
| SAND AMB 3T | 2.682 | 21.7 | 4.1 | 742.1 | -8.9
| SAN SGD 1 AO | 2.6143 | 18.3 | 5.9 | 354.1 | -7
| SAN SGD 1 SO | 2.6329 | 22.6 | 6.8 | 362.9 | -10.3
| RW SGD 2 SO | 2.5785 | 27.9 | 7.7 | 441 | -10.3
| RW SGD 2 AO | 2.5568 | 13.1 | 4.7 | 301 | -5.8
| REEF SGD 2 SO | 2.4257 | 21.7 | 6.6 | 370.9 | -9.5
| REEF SGD 2 AO | 2.5369 | 15.3 | 4.4 | 355.3 | -6.2
| SAN SGD 2 AO | 2.6211 | 14.9 | 4.7 | 340.9 | -5.4
| SAN SGD 2 SO | 2.6325 | 19.5 | 6.9 | 325.9 | -9.6
| SAN SGD 3 SO | 2.4038 | 22.6 | 7.3 | 342.4 | -9
| SAN SGD 3 AO | 2.6202 | 16 | 4 | 362.8 | -6
Comments
Quantification and isotopic corrections are calculated using standards prepared by our lab and run along with your samples
n,c | 'n' or 'c' denotes sample where content of N or C in your sample is too small for accurate and/or precise isotopic measurement
N,C | 'N' or 'C' denotes sample where content of N or C in your sample is too large for accurate and/or precise isotopic measurement
*N | '*N' denotes sample where N quantification was determined by extrapolating beyond our standard curve
*C | '*C' denotes sample where C quantification was determined by extrapolating beyond our standard curve